## Sheet1
Summary of results for the 506 market simulations for 2017-18
Simulation number | Unplanned outage set | Weather year ending 30 June | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the Queensland reference node) |  |  |  |  | Hedged price (nominal at the Queensland reference node)
|  |  | Annual energy - Queensland (GWh) | Peak demand - Queensland (MW) | Annual energy - Energex NSLP (GWh) | Peak demand - Energex NSLP (MW) | Time weighted spot price - Queensland ($/MWh) | Load weighted spot price - Queensland (total) ($/MWh) | Number of hours spot prices above $300 | Average of Queensland spot price above $300 ($/MWh) | Load weighted spot price - Energex NSLP ($/MWh) | Hedged price - Energex NSLP ($/MWh)
1 | 1 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 77.76 | 85.31 | 15 | 5026.25 | 104.4 | 101.26
2 | 1 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 70.09 | 74.03 | 7 | 2877.66 | 84.95 | 103.88
3 | 1 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 75.1 | 81.05 | 21 | 2759.59 | 95.01 | 100.42
4 | 1 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 74.83 | 80.72 | 17 | 3030.43 | 95.64 | 100.87
5 | 1 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 73.34 | 79.43 | 13 | 3729.68 | 94.75 | 102.65
6 | 1 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 71.88 | 76.91 | 14 | 2376.81 | 87.57 | 100.53
7 | 1 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 77.02 | 82.77 | 22 | 2527.69 | 96.21 | 97.72
8 | 1 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 79.43 | 87.51 | 27 | 3345.84 | 108.24 | 99.62
9 | 1 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 84.81 | 94.97 | 31 | 4375.66 | 118.32 | 91.5
10 | 1 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 85.81 | 96.13 | 51 | 2721.95 | 121.33 | 96.4
11 | 1 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 77.33 | 83.75 | 21 | 3489.67 | 99.84 | 98.39
12 | 1 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 82.49 | 92.15 | 41 | 2807.59 | 114.91 | 97.55
13 | 1 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 77.65 | 84.43 | 22 | 3208.61 | 101.36 | 98.64
14 | 1 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 79.28 | 88.01 | 19 | 5574.59 | 108.56 | 97.16
15 | 1 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 96.53 | 112.74 | 46 | 5190.21 | 150.58 | 88.59
16 | 1 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 82.2 | 91.12 | 30 | 3703.31 | 110.11 | 93.35
17 | 1 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 87.94 | 99.88 | 47 | 3521.19 | 131.35 | 95.87
18 | 1 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 70.82 | 74.98 | 12 | 2491.92 | 85.09 | 100.73
19 | 1 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 70.93 | 75.52 | 9 | 3245.77 | 86.22 | 101.41
20 | 1 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 73.88 | 78.87 | 16 | 2626.58 | 92.06 | 100.91
21 | 1 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 93.6 | 106.21 | 42 | 5178.41 | 132.98 | 78.37
22 | 1 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 92.23 | 106.19 | 31 | 6569.51 | 137.57 | 87.37
23 | 1 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 81.72 | 90.87 | 31 | 3817.39 | 112.47 | 93.79
24 | 1 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 75.7 | 82.84 | 20 | 3705.86 | 102.48 | 102.09
25 | 1 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 79.95 | 88.23 | 28 | 3396.76 | 108.6 | 99.77
26 | 1 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 88.9 | 102.08 | 40 | 4627.77 | 133.62 | 93.27
27 | 1 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 94.92 | 109.67 | 42 | 5613.07 | 148.31 | 94.67
28 | 1 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 100.94 | 117.69 | 77 | 3363.23 | 156.46 | 88.96
29 | 1 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 79.03 | 86.85 | 32 | 3040.22 | 107.16 | 98.22
30 | 1 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 72.14 | 76.94 | 12 | 3216.86 | 90.17 | 102.33
31 | 1 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 94.96 | 109.53 | 43 | 5281.47 | 144.91 | 87.14
32 | 1 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 90.25 | 103.83 | 51 | 3730.04 | 138.73 | 97.71
33 | 1 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 72.56 | 78.11 | 20 | 2238.11 | 91.63 | 102.92
34 | 1 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 90.52 | 103.38 | 55 | 3275.22 | 133.82 | 93.06
35 | 1 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 74.97 | 81.18 | 26 | 2139.41 | 95.12 | 99.4
36 | 1 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 87.26 | 97.93 | 49 | 3182.84 | 120.96 | 90.03
37 | 1 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 80.57 | 90.56 | 23 | 5205.75 | 116.3 | 98.34
38 | 1 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 68.8 | 72.16 | 2 | 3535.54 | 79.79 | 102.6
39 | 1 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 93.4 | 107.45 | 47 | 4565.49 | 144.25 | 94.28
40 | 1 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 106.68 | 124.73 | 59 | 5358.99 | 160.93 | 72.89
41 | 1 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 90.02 | 102.74 | 33 | 5424.28 | 138.32 | 99.52
42 | 1 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 77.62 | 84.76 | 28 | 2569.85 | 102.49 | 100.56
43 | 1 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 78.69 | 86.85 | 19 | 4899.61 | 107.35 | 98.96
44 | 1 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 79.52 | 87.67 | 32 | 3674.92 | 107.34 | 93.29
45 | 1 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 101.52 | 119.36 | 50 | 5464.39 | 163.97 | 91.66
46 | 1 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 138.1 | 168.55 | 124 | 4816.61 | 234.51 | 45.41
47 | 2 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 71.03 | 75.4 | 11 | 1872.94 | 85.3 | 102.15
48 | 2 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 71.5 | 75.94 | 8 | 4433.62 | 88.75 | 102.48
49 | 2 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 77.22 | 83.58 | 14 | 5661.89 | 100.95 | 97.28
50 | 2 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 94.27 | 107.99 | 43 | 5369.02 | 142.94 | 88.43
51 | 2 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 72.24 | 77.4 | 22 | 1811.75 | 89.72 | 101.4
52 | 2 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 70.92 | 75.55 | 13 | 1972.94 | 85.24 | 101.05
53 | 2 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 85.48 | 94.57 | 31 | 4266.45 | 117.33 | 92.3
54 | 2 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 73.69 | 78.68 | 22 | 1838.55 | 89.87 | 99.03
55 | 2 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 84.9 | 93.63 | 26 | 5430.55 | 113.69 | 87.01
56 | 2 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 87.34 | 98.42 | 42 | 3753.04 | 124.09 | 94.31
57 | 2 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 79.17 | 86.51 | 26 | 3598.16 | 102.94 | 93.53
58 | 2 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 97.78 | 112.88 | 50 | 5054.32 | 149.38 | 85.51
59 | 2 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 77.26 | 83.29 | 21 | 3411.29 | 98.27 | 95.82
60 | 2 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 74.08 | 80.32 | 22 | 2984.48 | 97.37 | 101.98
61 | 2 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 81.18 | 89.9 | 29 | 3656.57 | 112.06 | 98.39
62 | 2 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 87.93 | 98.17 | 35 | 4738.16 | 125.35 | 89.99
63 | 2 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 76.99 | 83.57 | 29 | 2401.68 | 99.74 | 98.23
64 | 2 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 72.82 | 77.63 | 11 | 4503.3 | 90.44 | 99.06
65 | 2 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 82.15 | 91.16 | 28 | 4817.65 | 107.85 | 87.28
66 | 2 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 72.12 | 76.55 | 18 | 1565.1 | 87.42 | 100.99
67 | 2 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 84.12 | 93.79 | 34 | 3946.69 | 118.32 | 93.94
68 | 2 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 82.4 | 90.94 | 24 | 4935.19 | 111.64 | 93.23
69 | 2 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 76.99 | 83.58 | 21 | 3637.93 | 100.15 | 97.9
70 | 2 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 74.93 | 81.15 | 15 | 4591.47 | 98.57 | 100.6
71 | 2 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 81.98 | 91.14 | 31 | 3689.02 | 113.7 | 95.78
72 | 2 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 99.88 | 116.7 | 45 | 6327.28 | 161.05 | 86.76
73 | 2 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 86.59 | 97.81 | 35 | 4671.51 | 124.12 | 95.39
74 | 2 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 110.11 | 129.29 | 82 | 4163.56 | 175.13 | 82.79
75 | 2 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 76.41 | 83.22 | 22 | 3393.01 | 101.19 | 100.5
76 | 2 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 79.29 | 86.61 | 14 | 7613.94 | 106.11 | 93.47
77 | 2 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 85.49 | 95.59 | 33 | 4511.91 | 117.11 | 88.4
78 | 2 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 87.79 | 99.51 | 41 | 4145.55 | 129.84 | 94.44
79 | 2 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 71.51 | 76.49 | 17 | 2183.86 | 87.83 | 101.87
80 | 2 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 98.89 | 115.61 | 55 | 4700.86 | 154.75 | 86.34
81 | 2 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 81.74 | 90.22 | 27 | 4351.4 | 111.4 | 94.26
82 | 2 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 89.22 | 101.2 | 35 | 4967.03 | 130.92 | 92.44
83 | 2 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 79.31 | 87.75 | 23 | 4795.54 | 107.5 | 95.72
84 | 2 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 68.51 | 71.95 | 8 | 976.63 | 79.01 | 102.17
85 | 2 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 87.74 | 99.35 | 34 | 4846.14 | 130.85 | 95.98
86 | 2 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 111.02 | 129.95 | 64 | 5569.33 | 171.1 | 71.38
87 | 2 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 79.1 | 86.75 | 25 | 3489.97 | 103 | 94.45
88 | 2 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 88.83 | 101.01 | 38 | 4589.82 | 130.03 | 93.61
89 | 2 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 74.71 | 80.66 | 15 | 3796.93 | 95.92 | 99.79
90 | 2 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 68.93 | 73.42 | 12 | 2112 | 83.92 | 102.91
91 | 2 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 101.76 | 119.11 | 53 | 5297.66 | 165.16 | 92.19
92 | 2 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 124.38 | 148.71 | 110 | 4342.84 | 197.86 | 54.19
93 | 3 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 74.17 | 79.83 | 13 | 3530.02 | 94.53 | 102.17
94 | 3 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 71.07 | 75.18 | 8 | 3834.22 | 86.38 | 101.77
95 | 3 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 77.27 | 84.43 | 15 | 5390.88 | 104.14 | 99.44
96 | 3 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 86.96 | 97.49 | 32 | 5100.2 | 124.2 | 91.97
97 | 3 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 75.43 | 81.91 | 21 | 3241.75 | 100.65 | 102.67
98 | 3 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 69.03 | 72.64 | 5 | 1299.62 | 80 | 102.29
99 | 3 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 85.4 | 95.26 | 32 | 4174.23 | 115.64 | 91.67
100 | 3 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 73.24 | 78.27 | 18 | 1990.76 | 90.23 | 100.65
101 | 3 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 86.33 | 97.16 | 29 | 5257.13 | 122.72 | 91.06
102 | 3 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 79.43 | 87.11 | 36 | 2346.34 | 105.89 | 99.47
103 | 3 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 75.84 | 81.75 | 21 | 3032.22 | 96.23 | 97.66
104 | 3 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 92.33 | 105.43 | 45 | 4443.19 | 137.1 | 90.56
105 | 3 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 76.68 | 82.76 | 28 | 2311.61 | 97.59 | 98.47
106 | 3 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 74.03 | 80.08 | 11 | 5845.56 | 98.28 | 102.59
107 | 3 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 94.34 | 109.4 | 36 | 6198.21 | 149.91 | 95.78
108 | 3 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 90.63 | 102.39 | 35 | 5372.09 | 125.27 | 81.75
109 | 3 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 81.34 | 89.91 | 29 | 3667.87 | 117.29 | 104.81
110 | 3 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 69.21 | 72.87 | 7 | 1981.43 | 81.6 | 102.71
111 | 3 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 79.39 | 87.56 | 18 | 5924.56 | 106.68 | 96.23
112 | 3 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 73.39 | 78.11 | 13 | 2960.58 | 91.08 | 100.72
113 | 3 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 82.84 | 91.13 | 32 | 3862.23 | 110 | 89.64
114 | 3 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 72.05 | 76.73 | 16 | 1649.03 | 87.42 | 101.3
115 | 3 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 73.57 | 78.84 | 20 | 2260.81 | 91.32 | 99.89
116 | 3 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 74.28 | 80.76 | 17 | 3646.8 | 99.18 | 104.54
117 | 3 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 80.36 | 88.54 | 21 | 4815.85 | 110.19 | 97.35
118 | 3 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 77.05 | 84.01 | 25 | 3274.24 | 103.48 | 100.7
119 | 3 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 80.93 | 89.47 | 35 | 3294.42 | 110.96 | 97.32
120 | 3 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 98.65 | 113.63 | 77 | 3128.79 | 150.12 | 89.59
121 | 3 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 84.01 | 94.51 | 26 | 5434.49 | 123.63 | 97.82
122 | 3 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 77.31 | 84.68 | 17 | 5219.75 | 103.39 | 96.93
123 | 3 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 74.74 | 80.34 | 20 | 2544.34 | 91.08 | 96.07
124 | 3 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 74.02 | 79.89 | 35 | 1359.31 | 92.69 | 100.48
125 | 3 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 70.81 | 75.67 | 17 | 1735.53 | 87.14 | 104.32
126 | 3 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 95.61 | 110.51 | 54 | 4181.42 | 145.28 | 89.74
127 | 3 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 71.96 | 76.84 | 20 | 1432.18 | 87.06 | 100.94
128 | 3 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 87.64 | 99.9 | 26 | 6012.07 | 128.8 | 97.39
129 | 3 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 71.89 | 77.29 | 7 | 6266.45 | 91.7 | 102.57
130 | 3 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 69.62 | 73.27 | 5 | 3398.44 | 81.86 | 101.49
131 | 3 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 88.13 | 99.64 | 38 | 4453.65 | 131.29 | 96.46
132 | 3 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 100.39 | 115.58 | 47 | 5552.23 | 148.92 | 80.6
133 | 3 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 87.79 | 100.31 | 34 | 4881.45 | 135.79 | 103.07
134 | 3 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 83.97 | 94.38 | 30 | 4304.2 | 122.08 | 98.54
135 | 3 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 78.09 | 85.66 | 15 | 5854.93 | 105.43 | 99.25
136 | 3 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 70.87 | 75.57 | 21 | 1972.92 | 87.61 | 101.29
137 | 3 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 89.13 | 101.05 | 46 | 3720.48 | 129.39 | 93.97
138 | 3 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 125.62 | 150.93 | 91 | 5330.97 | 203.95 | 55.69
139 | 4 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 71.04 | 75.45 | 14 | 1511.07 | 86.15 | 102.92
140 | 4 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 68.35 | 71.74 | 6 | 1341.84 | 80.29 | 104.35
141 | 4 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 69.11 | 72.97 | 8 | 986.01 | 81.07 | 103.1
142 | 4 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 81.55 | 90.51 | 28 | 4169.26 | 114.91 | 98.55
143 | 4 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 83.77 | 94.05 | 27 | 5346.19 | 121.26 | 95.1
144 | 4 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 69.83 | 73.84 | 11 | 1763.51 | 81.95 | 100.99
145 | 4 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 85.58 | 94.45 | 25 | 5257.16 | 112.21 | 89.4
146 | 4 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 81.43 | 89.55 | 26 | 4336.37 | 106.33 | 89.79
147 | 4 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 79.13 | 86.69 | 28 | 3264.47 | 106.66 | 97.5
148 | 4 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 90.37 | 102.18 | 43 | 4226.96 | 127.27 | 89.74
149 | 4 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 75.52 | 81.22 | 18 | 3553.23 | 92.6 | 94.97
150 | 4 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 78.24 | 85.59 | 33 | 2436.86 | 101.88 | 97.53
151 | 4 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 76.39 | 82.52 | 20 | 3093.99 | 95.7 | 97.04
152 | 4 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 69.32 | 73.77 | 13 | 1898.92 | 84.25 | 103.58
153 | 4 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 78.82 | 86.37 | 27 | 3132.34 | 103 | 97.13
154 | 4 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 80.44 | 87.8 | 29 | 3449.99 | 102.12 | 91.28
155 | 4 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 79.4 | 87.01 | 42 | 2161.84 | 106.2 | 97.91
156 | 4 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 68.42 | 72.06 | 7 | 1379.93 | 80.52 | 103.78
157 | 4 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 74.71 | 80.95 | 24 | 2795.59 | 93.73 | 97.1
158 | 4 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 69.08 | 72.62 | 8 | 453.71 | 80.39 | 102.85
159 | 4 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 82.82 | 92.26 | 38 | 3284.19 | 113.85 | 93.78
160 | 4 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 72.95 | 78.38 | 12 | 3168.59 | 90.54 | 100.41
161 | 4 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 75.36 | 81.92 | 17 | 3861.53 | 98.62 | 99.78
162 | 4 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 79.72 | 89.57 | 23 | 4996.28 | 116.97 | 102.72
163 | 4 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 79.31 | 87.64 | 19 | 4902.21 | 109.07 | 98.79
164 | 4 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 85.59 | 97.08 | 33 | 4767.68 | 127.25 | 97.3
165 | 4 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 94.85 | 108.22 | 42 | 5701.77 | 137.19 | 83.38
166 | 4 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 125.9 | 152.74 | 77 | 6259.19 | 209.13 | 70.81
167 | 4 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 76.78 | 83.61 | 18 | 4363.44 | 100.75 | 98.23
168 | 4 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 75.42 | 82.52 | 15 | 4807.15 | 100.96 | 101
169 | 4 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 88.75 | 100.93 | 21 | 8407.3 | 130.23 | 90.67
170 | 4 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 88.33 | 101.15 | 49 | 3557.44 | 135.14 | 101.08
171 | 4 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 71.57 | 76.65 | 12 | 3251.93 | 88.55 | 102.3
172 | 4 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 92.71 | 106.35 | 60 | 3405.6 | 137.11 | 88.47
173 | 4 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 74.1 | 80.23 | 27 | 1963.29 | 93.63 | 99.49
174 | 4 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 81.55 | 90.55 | 31 | 3479.46 | 111.12 | 96.82
175 | 4 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 75.39 | 83.04 | 12 | 6461.95 | 104.26 | 103.38
176 | 4 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 69.61 | 73.39 | 7 | 2870.75 | 81.83 | 100.87
177 | 4 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 79.74 | 88.03 | 28 | 3531.59 | 108.42 | 98.12
178 | 4 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 92.63 | 105.49 | 37 | 5231.83 | 132.13 | 86.84
179 | 4 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 81.89 | 90.83 | 26 | 4289.41 | 111.76 | 95.01
180 | 4 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 89.6 | 101.21 | 48 | 3832.81 | 128.08 | 89.02
181 | 4 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 77.68 | 84.97 | 21 | 4135.6 | 101.03 | 94.79
182 | 4 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 70.6 | 75.97 | 11 | 3441.36 | 90.02 | 105.1
183 | 4 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 106.5 | 125.16 | 58 | 5640.76 | 167.53 | 79.99
184 | 4 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 111.23 | 130.77 | 89 | 4037.4 | 169.92 | 65.04
185 | 5 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 74.15 | 79.79 | 17 | 2851.55 | 92.55 | 99.48
186 | 5 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 68.67 | 72.02 | 4 | 1778.31 | 80.59 | 104.38
187 | 5 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 69.66 | 73.66 | 6 | 1581.72 | 82.31 | 103.11
188 | 5 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 78.59 | 85.93 | 29 | 3105.16 | 104.94 | 98.61
189 | 5 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 77.32 | 84.25 | 19 | 4325.91 | 103.86 | 99.34
190 | 5 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 71.39 | 76.14 | 13 | 2294.14 | 86.06 | 100.53
191 | 5 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 80.57 | 87.54 | 23 | 3830.38 | 102.76 | 92.89
192 | 5 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 75.48 | 81.14 | 15 | 3583.9 | 95.15 | 98.77
193 | 5 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 88.54 | 100.03 | 31 | 5584.32 | 132.76 | 93.42
194 | 5 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 79.14 | 86.71 | 36 | 2253.85 | 104.21 | 99.77
195 | 5 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 74.17 | 79.71 | 13 | 3663.34 | 91.1 | 97.75
196 | 5 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 84.44 | 94.97 | 40 | 3312.32 | 120.98 | 96.95
197 | 5 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 82.11 | 89.78 | 35 | 3345.31 | 106.91 | 89.33
198 | 5 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 76.81 | 84.43 | 17 | 5259.39 | 102.41 | 97.75
199 | 5 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 84.8 | 94.67 | 32 | 4289.67 | 118.15 | 93.18
200 | 5 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 90.68 | 103.25 | 28 | 6737.47 | 129.53 | 85.11
201 | 5 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 83.09 | 92.66 | 44 | 2804.5 | 117.7 | 97.29
202 | 5 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 70.06 | 73.93 | 9 | 2341.44 | 82.72 | 101.18
203 | 5 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 81.74 | 90.46 | 30 | 4278.31 | 109.2 | 90.6
204 | 5 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 71.71 | 75.89 | 14 | 1793.27 | 85.96 | 100.92
205 | 5 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 86.73 | 96.39 | 36 | 4402.7 | 113.44 | 79.63
206 | 5 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 82.78 | 92.37 | 18 | 6760.7 | 113.89 | 92.82
207 | 5 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 73.29 | 78.56 | 15 | 2950.29 | 91.81 | 100.64
208 | 5 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 80.16 | 90.14 | 17 | 6705.24 | 117.25 | 102.21
209 | 5 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 75.85 | 81.88 | 20 | 2990.73 | 97.36 | 99.62
210 | 5 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 82.78 | 92.23 | 35 | 3741.1 | 114.04 | 93.98
211 | 5 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 86.46 | 97.47 | 37 | 4366.27 | 127.65 | 101.91
212 | 5 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 96.93 | 111.56 | 76 | 2983.57 | 146.5 | 90.02
213 | 5 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 82.66 | 92.73 | 30 | 4360.83 | 120.47 | 99.15
214 | 5 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 86.65 | 97.96 | 24 | 7081.89 | 127.32 | 90.55
215 | 5 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 88.44 | 99.33 | 29 | 5953.16 | 122.84 | 84.81
216 | 5 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 88.1 | 101.13 | 43 | 4040.86 | 132.48 | 95.97
217 | 5 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 73.26 | 79.28 | 14 | 3746.67 | 94.35 | 102.08
218 | 5 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 96.19 | 112 | 52 | 4440.01 | 148.98 | 88.56
219 | 5 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 72.8 | 77.92 | 15 | 2491.34 | 89.54 | 100.07
220 | 5 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 88.57 | 100.8 | 40 | 4210.85 | 131.14 | 97.55
221 | 5 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 72.11 | 77.82 | 13 | 3683.78 | 92.73 | 102.76
222 | 5 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 67.77 | 71.05 | 5 | 911.12 | 77.96 | 103.11
223 | 5 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 79.31 | 87.45 | 34 | 2735 | 107.75 | 99.66
224 | 5 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 105.38 | 123.25 | 55 | 5561.54 | 159.07 | 75.09
225 | 5 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 92.4 | 106.68 | 32 | 6357.75 | 144.83 | 97.95
226 | 5 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 83.31 | 93.34 | 32 | 3857.1 | 119.14 | 97.9
227 | 5 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 74.4 | 80.72 | 13 | 4365 | 94.64 | 98.92
228 | 5 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 75.68 | 82.91 | 24 | 3471.17 | 102.54 | 100.83
229 | 5 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 89.63 | 101.69 | 47 | 3714.21 | 129.28 | 92.03
230 | 5 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 124.22 | 148.15 | 108 | 4425.02 | 199.32 | 53.53
231 | 6 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 75.31 | 81.28 | 17 | 3375.88 | 95.49 | 98.84
232 | 6 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 68.82 | 72.49 | 5 | 2827.54 | 82.29 | 104.24
233 | 6 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 73.28 | 78.76 | 12 | 4050.54 | 91.25 | 99.28
234 | 6 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 81.53 | 90.34 | 25 | 4666.52 | 113.35 | 97.71
235 | 6 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 73.69 | 79.39 | 18 | 2748.79 | 94.1 | 101.53
236 | 6 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 72.61 | 78.14 | 12 | 3509.74 | 90.16 | 100.18
237 | 6 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 76.46 | 82.38 | 18 | 2901.68 | 96.54 | 99.43
238 | 6 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 74.06 | 79.53 | 8 | 5358.52 | 92.98 | 100.27
239 | 6 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 88.87 | 100.2 | 35 | 5119.32 | 129.27 | 88.25
240 | 6 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 88.9 | 100.84 | 41 | 4160.72 | 128.08 | 91.23
241 | 6 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 74.4 | 80.03 | 15 | 3457.3 | 92.02 | 97.54
242 | 6 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 91.17 | 104.63 | 43 | 4517.85 | 139.2 | 96.06
243 | 6 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 74.81 | 80.79 | 15 | 3356.88 | 94.23 | 99.21
244 | 6 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 84.33 | 95.66 | 21 | 7544.74 | 124.05 | 95.06
245 | 6 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 91.19 | 105.07 | 39 | 5001.06 | 136.35 | 92.22
246 | 6 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 91.34 | 103.38 | 37 | 5306.17 | 134.29 | 87.35
247 | 6 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 83.44 | 92.24 | 36 | 3547.98 | 115.71 | 94.28
248 | 6 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 72.1 | 76.78 | 14 | 3233.8 | 87.19 | 97.6
249 | 6 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 73.3 | 79.19 | 18 | 3074.94 | 91.76 | 99.25
250 | 6 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 74.04 | 79.37 | 15 | 3243.89 | 92.59 | 99.12
251 | 6 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 85.06 | 94.67 | 34 | 4269.25 | 114.89 | 86.91
252 | 6 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 85.42 | 96.15 | 22 | 6665.98 | 120.93 | 91.28
253 | 6 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 75.37 | 81.53 | 21 | 3113.52 | 95.86 | 97.37
254 | 6 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 79.15 | 87.99 | 22 | 4877.75 | 113.79 | 101.32
255 | 6 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 83.02 | 93.09 | 20 | 6148.28 | 117.57 | 96.06
256 | 6 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 86.59 | 98.32 | 36 | 4651.91 | 125.54 | 91.54
257 | 6 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 87.41 | 99.24 | 39 | 4381.11 | 129.15 | 98.45
258 | 6 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 105.34 | 124.27 | 76 | 3975.54 | 168.12 | 88.78
259 | 6 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 72.99 | 78.63 | 17 | 2766.06 | 93.15 | 102.55
260 | 6 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 70.82 | 75.39 | 12 | 2579.81 | 86.72 | 102.23
261 | 6 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 88.37 | 99.86 | 35 | 5065.36 | 125.97 | 86.16
262 | 6 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 78.94 | 87.18 | 45 | 2145.94 | 106.46 | 97.59
263 | 6 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 73.5 | 79.72 | 17 | 3252.48 | 94.43 | 101.95
264 | 6 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 103.96 | 123.64 | 55 | 5518.25 | 170.52 | 85.46
265 | 6 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 72.84 | 78.33 | 16 | 2521.29 | 90.06 | 99.85
266 | 6 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 88.3 | 99.52 | 46 | 3717.07 | 123.2 | 87.47
267 | 6 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 74.05 | 80.97 | 15 | 4349.52 | 98.72 | 102.32
268 | 6 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 67.47 | 70.77 | 1 | 3145.99 | 77.83 | 103.34
269 | 6 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 87.05 | 98.6 | 36 | 4504.03 | 128.79 | 95.44
270 | 6 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 112.73 | 133.03 | 59 | 6321.3 | 176.17 | 68.84
271 | 6 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 75.94 | 82.1 | 24 | 2567.5 | 94.98 | 96.43
272 | 6 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 87.17 | 98.15 | 42 | 3838.85 | 127.59 | 95.08
273 | 6 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 90.4 | 103.18 | 30 | 6714.02 | 135.68 | 90.94
274 | 6 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 67.6 | 71.55 | 17 | 991.87 | 80.21 | 103.2
275 | 6 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 95.38 | 110.51 | 48 | 4758.21 | 147.63 | 92.11
276 | 6 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 132.24 | 160.06 | 100 | 5483.5 | 218.78 | 46.92
277 | 7 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 71.83 | 76.25 | 13 | 1893.43 | 87.61 | 102.29
278 | 7 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 72.94 | 77.96 | 8 | 6020.25 | 93.89 | 103.01
279 | 7 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 68.3 | 71.89 | 4 | 549.07 | 79.15 | 103.28
280 | 7 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 77.14 | 84.06 | 22 | 3426.41 | 102.22 | 100.23
281 | 7 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 73.83 | 79.77 | 13 | 3929.57 | 94.53 | 101.26
282 | 7 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 69.68 | 73.44 | 6 | 2152.98 | 81.7 | 101.78
283 | 7 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 75.22 | 81.07 | 12 | 3358 | 94.3 | 101.59
284 | 7 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 77.76 | 85.06 | 13 | 5804.26 | 102.77 | 98.53
285 | 7 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 90.25 | 102.54 | 39 | 4825.27 | 130.62 | 85.54
286 | 7 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 80.32 | 88.38 | 51 | 1862.87 | 107 | 98.05
287 | 7 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 73.68 | 78.85 | 17 | 2533.22 | 89.69 | 98.2
288 | 7 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 78.16 | 85.04 | 30 | 2529.5 | 100.78 | 96.69
289 | 7 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 77.91 | 84.06 | 21 | 3580.33 | 95.77 | 92.5
290 | 7 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 70.89 | 75.86 | 10 | 3670.91 | 88.71 | 103.48
291 | 7 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 88.76 | 101.31 | 33 | 5256.44 | 130.63 | 94.97
292 | 7 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 83.7 | 92.92 | 33 | 3828.77 | 112.93 | 91.34
293 | 7 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 91.79 | 104.85 | 47 | 4247.46 | 136.95 | 89.2
294 | 7 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 70.04 | 74.05 | 7 | 2741.63 | 82.79 | 101.4
295 | 7 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 78.44 | 86.48 | 20 | 4896.21 | 103.59 | 94.04
296 | 7 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 73.46 | 78.24 | 9 | 4164.49 | 90.49 | 100.04
297 | 7 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 83.86 | 93.35 | 30 | 4472.66 | 115.03 | 91.31
298 | 7 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 76.52 | 83.21 | 15 | 4358.13 | 98.36 | 97.59
299 | 7 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 73.41 | 78.96 | 17 | 2722.74 | 92.76 | 100.95
300 | 7 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 81.92 | 92.45 | 24 | 5491.3 | 119.67 | 98.03
301 | 7 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 72.63 | 77.51 | 11 | 2923.6 | 89.68 | 101.65
302 | 7 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 82.57 | 91.69 | 34 | 3757.99 | 113.69 | 94.31
303 | 7 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 87.31 | 98.97 | 32 | 5277.08 | 130.3 | 101.8
304 | 7 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 98.87 | 114.43 | 65 | 3674.36 | 151.07 | 89.76
305 | 7 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 71.08 | 75.8 | 10 | 2697.02 | 87.24 | 103.01
306 | 7 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 85.08 | 96.29 | 16 | 9698.9 | 125.51 | 93.16
307 | 7 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 79.44 | 86.62 | 25 | 3709.43 | 103.18 | 93.71
308 | 7 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 80.81 | 90.26 | 30 | 3620.03 | 116.15 | 104.16
309 | 7 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 68.58 | 72.33 | 10 | 999.09 | 80.11 | 103.11
310 | 7 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 95.18 | 110.2 | 54 | 4155.2 | 143.86 | 86.2
311 | 7 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 70.64 | 75.06 | 13 | 1339.78 | 84.39 | 101.91
312 | 7 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 85.74 | 96.8 | 31 | 4661.02 | 123.24 | 96.73
313 | 7 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 73.75 | 80.51 | 11 | 5591.44 | 97.58 | 101.81
314 | 7 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 71.88 | 76.57 | 10 | 3926.4 | 88.4 | 100.41
315 | 7 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 80.4 | 88.81 | 29 | 3495.95 | 111.01 | 99.04
316 | 7 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 102.94 | 119.46 | 47 | 5961.92 | 152.45 | 76.63
317 | 7 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 84.02 | 94.75 | 35 | 3766.1 | 119.51 | 95.68
318 | 7 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 79.25 | 86.64 | 29 | 3000.55 | 105.77 | 97.92
319 | 7 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 78.51 | 85.98 | 20 | 4551.62 | 101.57 | 93.19
320 | 7 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 75.87 | 83.25 | 17 | 4853.01 | 103.05 | 102.14
321 | 7 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 98 | 114.03 | 45 | 5539.11 | 154.21 | 91.4
322 | 7 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 135.86 | 163.63 | 109 | 5283.48 | 219.92 | 40.57
323 | 8 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 72.7 | 77.46 | 18 | 1796.96 | 89.37 | 101.54
324 | 8 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 69.1 | 72.67 | 6 | 2510.32 | 82.29 | 103.81
325 | 8 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 69.28 | 73.19 | 4 | 2316.47 | 81.15 | 102.27
326 | 8 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 80.22 | 88.31 | 23 | 4381.8 | 109.46 | 97.42
327 | 8 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 71.68 | 76.27 | 19 | 1847.92 | 88.09 | 102.11
328 | 8 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 72.51 | 77.58 | 5 | 7027.69 | 89.04 | 100.36
329 | 8 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 84.16 | 93.36 | 37 | 3265.57 | 114.18 | 94.28
330 | 8 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 79.47 | 86.59 | 29 | 3140.23 | 103.45 | 94.61
331 | 8 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 92.3 | 105.08 | 41 | 5096.7 | 140.54 | 88.83
332 | 8 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 77.61 | 84.43 | 35 | 1931.15 | 99.9 | 99.18
333 | 8 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 70.9 | 75.13 | 11 | 1963.58 | 83.44 | 100.15
334 | 8 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 84.42 | 94.74 | 36 | 3721.66 | 118.3 | 93.92
335 | 8 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 82.83 | 91.84 | 27 | 4375.24 | 116.03 | 95.85
336 | 8 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 69.29 | 73.45 | 11 | 1974.01 | 84.14 | 104.08
337 | 8 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 90.23 | 103.36 | 35 | 5274.72 | 137.46 | 97.95
338 | 8 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 78.33 | 85.47 | 26 | 3015.9 | 102.19 | 96.97
339 | 8 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 82.52 | 91.95 | 29 | 4088.69 | 116.07 | 96.65
340 | 8 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 68.11 | 71.48 | 2 | 2371.28 | 79.15 | 103.51
341 | 8 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 71.6 | 76.44 | 14 | 2543.09 | 87.69 | 101.03
342 | 8 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 74.59 | 79.88 | 17 | 3015.13 | 94.5 | 99.89
343 | 8 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 85.1 | 95.01 | 34 | 4210.43 | 119.48 | 92.87
344 | 8 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 84.91 | 94.95 | 29 | 4811.62 | 115.83 | 89.83
345 | 8 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 80.23 | 88.36 | 21 | 5046.37 | 108.18 | 94.06
346 | 8 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 74.31 | 80.62 | 15 | 4348.83 | 97.48 | 101.12
347 | 8 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 80.11 | 87.69 | 19 | 5107.41 | 111.33 | 99.67
348 | 8 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 89.49 | 101.51 | 42 | 4546.9 | 132.76 | 92.49
349 | 8 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 92.34 | 105.89 | 39 | 5500.75 | 144.16 | 102.51
350 | 8 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 104.71 | 122.92 | 85 | 3451.45 | 163.63 | 85.38
351 | 8 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 85.5 | 96.67 | 28 | 5530.41 | 128.31 | 97.62
352 | 8 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 73.99 | 79.68 | 16 | 3610.73 | 93.56 | 98.8
353 | 8 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 90.48 | 103.52 | 39 | 4923.82 | 132.28 | 86.16
354 | 8 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 82.23 | 92.19 | 34 | 3509.07 | 119.35 | 103.37
355 | 8 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 70.32 | 75.05 | 11 | 2397.27 | 85.9 | 103.82
356 | 8 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 92.65 | 106.58 | 41 | 4887.86 | 139.98 | 91.17
357 | 8 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 75.82 | 82.19 | 19 | 3376.55 | 96.45 | 97.54
358 | 8 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 80.46 | 88.52 | 32 | 3049.17 | 104.14 | 92.35
359 | 8 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 68.69 | 72.9 | 8 | 2228.47 | 82.06 | 103.06
360 | 8 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 71.57 | 76.12 | 10 | 3545.77 | 86.31 | 99.89
361 | 8 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 90.47 | 103.58 | 33 | 5795.91 | 137.53 | 93.44
362 | 8 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 102.96 | 119.68 | 62 | 4590.23 | 153.97 | 76.18
363 | 8 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 79.44 | 86.56 | 26 | 3377.6 | 102.72 | 93.94
364 | 8 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 84.01 | 93.89 | 36 | 3728.76 | 118.92 | 96.31
365 | 8 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 74.9 | 81 | 15 | 3928.45 | 94.8 | 98.12
366 | 8 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 79.74 | 89.09 | 30 | 4048.56 | 114.52 | 100.65
367 | 8 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 98.96 | 115.73 | 48 | 5350.32 | 159.46 | 95.57
368 | 8 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 133.3 | 160.95 | 118 | 4719.58 | 220.98 | 47.82
369 | 9 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 77.89 | 84.69 | 22 | 3568.52 | 99.57 | 96.56
370 | 9 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 67.9 | 71.17 | 7 | 644.84 | 79.02 | 104.32
371 | 9 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 70.49 | 74.66 | 7 | 2606.66 | 83.66 | 101.21
372 | 9 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 73.86 | 79.35 | 24 | 1944.13 | 92.6 | 100.67
373 | 9 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 79.28 | 86.96 | 22 | 4592.05 | 105.25 | 94.02
374 | 9 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 70.68 | 74.79 | 5 | 4461.4 | 84.03 | 100.67
375 | 9 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 89.84 | 101.44 | 38 | 4480.43 | 127.25 | 90.52
376 | 9 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 78.11 | 84.69 | 24 | 3222.89 | 97.72 | 93.14
377 | 9 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 81.73 | 91.1 | 21 | 5299.86 | 112.71 | 94.78
378 | 9 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 82.36 | 91.56 | 40 | 2779.44 | 111.73 | 96.81
379 | 9 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 74.47 | 79.8 | 13 | 3827.51 | 90.84 | 96.35
380 | 9 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 86.77 | 97.9 | 42 | 3656.65 | 124.2 | 93.65
381 | 9 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 84.03 | 92.92 | 22 | 5884.93 | 111.11 | 87.08
382 | 9 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 72.8 | 78.68 | 15 | 3556.95 | 92.45 | 101.63
383 | 9 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 85.63 | 97 | 27 | 5337.4 | 125.77 | 101.64
384 | 9 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 90.35 | 102.57 | 45 | 4091.74 | 128.91 | 87.86
385 | 9 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 85.82 | 96.76 | 27 | 5332.61 | 125.22 | 96.65
386 | 9 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 68.92 | 72.73 | 4 | 3131.35 | 81.44 | 102.91
387 | 9 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 69.19 | 73.24 | 14 | 1122.17 | 80.7 | 101.17
388 | 9 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 70.79 | 74.72 | 12 | 1204.68 | 82.68 | 100.52
389 | 9 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 101.95 | 119.27 | 45 | 6483.66 | 160.24 | 82.68
390 | 9 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 85.29 | 95.08 | 35 | 4147.61 | 115.35 | 88.44
391 | 9 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 78.56 | 85.67 | 32 | 2933.35 | 102.81 | 94.3
392 | 9 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 81.92 | 92.24 | 21 | 6365.69 | 120.1 | 99.03
393 | 9 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 77.01 | 84.16 | 24 | 3000.75 | 101.49 | 99.12
394 | 9 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 83.13 | 93.38 | 40 | 3414.5 | 116.92 | 96.41
395 | 9 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 86.16 | 97.09 | 39 | 4075.58 | 124.4 | 95.17
396 | 9 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 108.44 | 127.79 | 89 | 3678.58 | 172.32 | 83.96
397 | 9 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 78.64 | 86.97 | 15 | 6139.13 | 109.05 | 100.04
398 | 9 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 79.41 | 86.9 | 18 | 5885.74 | 104.39 | 91.4
399 | 9 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 85.6 | 95.8 | 37 | 3998.04 | 117.44 | 87.74
400 | 9 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 94.09 | 109.1 | 52 | 4383.51 | 144.57 | 90.38
401 | 9 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 75.87 | 82.54 | 21 | 3643.45 | 97.36 | 97.42
402 | 9 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 112.33 | 134.81 | 58 | 6501.79 | 189.37 | 77.49
403 | 9 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 85.27 | 95.28 | 31 | 4860.81 | 115.77 | 87.14
404 | 9 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 90.79 | 102.98 | 56 | 3375.83 | 129.6 | 89.45
405 | 9 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 77.23 | 85.43 | 14 | 6658.95 | 104.65 | 96.71
406 | 9 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 69.64 | 73.36 | 8 | 2337.77 | 81.92 | 101.27
407 | 9 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 89.4 | 101.71 | 37 | 4907.73 | 134.87 | 94.76
408 | 9 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 113.87 | 134.29 | 61 | 6246.72 | 174.31 | 64.74
409 | 9 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 79.88 | 87.73 | 24 | 3774.28 | 104.62 | 94.11
410 | 9 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 84.8 | 95.07 | 33 | 4137.46 | 121.15 | 95.54
411 | 9 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 79.54 | 87.95 | 25 | 4160.41 | 106.81 | 94.99
412 | 9 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 74.07 | 80.78 | 15 | 4452.09 | 97.41 | 101.29
413 | 9 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 104.45 | 123.05 | 62 | 4973.05 | 169.34 | 88.02
414 | 9 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 117.73 | 140.05 | 90 | 4632.02 | 184.87 | 60.23
415 | 10 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 76.04 | 82.23 | 15 | 4165.47 | 97.39 | 98.35
416 | 10 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 71.65 | 76.37 | 6 | 6009.75 | 90.61 | 104.11
417 | 10 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 72 | 76.66 | 12 | 2718.84 | 87.66 | 100.75
418 | 10 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 77.45 | 83.86 | 27 | 2902.06 | 101.13 | 98.34
419 | 10 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 74.81 | 81.15 | 14 | 4386.85 | 97.84 | 101.16
420 | 10 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 70.64 | 74.9 | 12 | 1676.89 | 83.7 | 101.14
421 | 10 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 76.66 | 82.46 | 14 | 3958.43 | 95.31 | 96.68
422 | 10 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 77.38 | 83.99 | 24 | 3004.63 | 101.55 | 99.11
423 | 10 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 81.03 | 89.35 | 29 | 3718.47 | 111.38 | 96.09
424 | 10 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 79.35 | 87.04 | 37 | 2217.66 | 104.42 | 98.89
425 | 10 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 71.43 | 75.49 | 14 | 1642.39 | 84.5 | 100.53
426 | 10 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 78.93 | 86.15 | 34 | 2449.65 | 103.51 | 97.73
427 | 10 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 77.94 | 84.56 | 17 | 4445.66 | 99.36 | 95.6
428 | 10 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 80.78 | 90.18 | 17 | 7174.53 | 113.68 | 97.31
429 | 10 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 80.44 | 89.18 | 25 | 3898.07 | 109.37 | 97.74
430 | 10 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 77.15 | 83.33 | 25 | 2709.9 | 98.18 | 97.31
431 | 10 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 80.68 | 88.6 | 47 | 2122.47 | 108.65 | 97.45
432 | 10 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 71.52 | 76.07 | 9 | 3869.33 | 87.48 | 100.85
433 | 10 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 69.85 | 74 | 18 | 1163.54 | 81.83 | 100.65
434 | 10 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 73.64 | 78.52 | 12 | 3484.53 | 91.4 | 100.95
435 | 10 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 78.34 | 84.92 | 29 | 2828.35 | 98.18 | 92
436 | 10 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 81.08 | 89.52 | 20 | 5241.86 | 110.28 | 95.55
437 | 10 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 70.9 | 75.46 | 11 | 1945.52 | 85.95 | 102.6
438 | 10 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 88.65 | 102.44 | 22 | 8543.92 | 145.8 | 105.85
439 | 10 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 75.5 | 81.61 | 22 | 2560.9 | 96.01 | 99.23
440 | 10 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 84.4 | 94.48 | 32 | 4502.08 | 119.47 | 94.1
441 | 10 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 79.56 | 87.69 | 29 | 3434.15 | 108.63 | 100.06
442 | 10 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 93.36 | 105.91 | 55 | 3435.62 | 135.73 | 91.31
443 | 10 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 79.2 | 87.5 | 21 | 4674.09 | 110.22 | 99.79
444 | 10 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 77.48 | 85.5 | 15 | 5943.87 | 106.71 | 100.06
445 | 10 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 88.72 | 100.9 | 31 | 5682.57 | 130.05 | 90.5
446 | 10 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 79.45 | 87.56 | 36 | 2660.38 | 109.07 | 102.04
447 | 10 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 70.73 | 75.17 | 11 | 2388.18 | 84.6 | 101.02
448 | 10 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 101.52 | 119.05 | 52 | 5350.75 | 165.49 | 92.22
449 | 10 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 73.75 | 79.27 | 21 | 2238.84 | 91 | 98.44
450 | 10 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 92.36 | 106.13 | 45 | 4487.96 | 140.44 | 96.2
451 | 10 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 75.13 | 82.92 | 10 | 7302.65 | 103.57 | 103.09
452 | 10 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 69.39 | 73.14 | 11 | 1521.51 | 81.54 | 101.95
453 | 10 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 80.59 | 89.2 | 32 | 3295.9 | 112.43 | 99.47
454 | 10 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 93.46 | 106.5 | 43 | 4661.87 | 134.4 | 86.63
455 | 10 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 92.5 | 106.61 | 40 | 5105.8 | 143.45 | 97.71
456 | 10 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 76.31 | 82.76 | 18 | 3454.62 | 98.87 | 99.52
457 | 10 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 74 | 79.49 | 17 | 2987.75 | 92.05 | 98.48
458 | 10 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 68.96 | 73.49 | 14 | 1875.59 | 84.27 | 104
459 | 10 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 95.32 | 110.55 | 37 | 6083.27 | 148.6 | 92.2
460 | 10 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 116.02 | 136.7 | 110 | 3662.57 | 179.44 | 61.83
461 | 11 | 1971 | 55096.6758 | 9744.0565 | 7062.0064 | 2705.55 | 72.88 | 77.92 | 15 | 2262.38 | 90.09 | 101.88
462 | 11 | 1972 | 54557.0576 | 9130.5528 | 6837.6296 | 2535.4042 | 72.6 | 77.45 | 8 | 5264.87 | 91.98 | 102.74
463 | 11 | 1973 | 55181.8138 | 9659.9899 | 7023.6442 | 2520.0551 | 78.35 | 85.47 | 17 | 5255.09 | 101.35 | 94.12
464 | 11 | 1974 | 55494.7319 | 9495.2694 | 7081.3189 | 2562.0191 | 85.67 | 95.95 | 27 | 5571.4 | 124.85 | 96.69
465 | 11 | 1975 | 54809.9306 | 9625.6984 | 6917.4931 | 2520.0551 | 72.49 | 77.75 | 14 | 2870.65 | 91.52 | 102.72
466 | 11 | 1976 | 55328.6999 | 9799.5258 | 7089.3197 | 2350.6749 | 72.92 | 78.14 | 16 | 2565.44 | 90.12 | 100.36
467 | 11 | 1977 | 55563.9996 | 9782.5258 | 7221.9688 | 2624.7451 | 81.4 | 88.72 | 33 | 2880.16 | 104.93 | 93.13
468 | 11 | 1978 | 55473.9541 | 9769.5258 | 7198.8989 | 2481.4572 | 76.96 | 83.81 | 28 | 2432.22 | 100.52 | 100.11
469 | 11 | 1979 | 55155.1445 | 9665.9496 | 7073.1463 | 2562.0191 | 87.67 | 98.06 | 33 | 4971.51 | 124.91 | 88.65
470 | 11 | 1980 | 55880.2162 | 9782.5258 | 7306.4253 | 2571.8811 | 87.78 | 99.21 | 49 | 3184.86 | 125.56 | 94.49
471 | 11 | 1981 | 55345.5025 | 9648.1285 | 7024.6589 | 2682.1803 | 76.52 | 82.67 | 20 | 3290.86 | 97.67 | 98.06
472 | 11 | 1982 | 55556.0951 | 9782.5258 | 7223.5639 | 2634.69 | 85.1 | 95.39 | 49 | 2818.08 | 119.72 | 94.53
473 | 11 | 1983 | 55193.4337 | 9758.5258 | 7016.5703 | 2705.55 | 78.87 | 85.9 | 25 | 3227.37 | 105.76 | 99.3
474 | 11 | 1984 | 54795.0911 | 9637.1285 | 6868.6731 | 2680.6909 | 71.56 | 76.9 | 9 | 4335.7 | 89.01 | 102.19
475 | 11 | 1985 | 55535.3616 | 9931.6243 | 7288.7919 | 2777.4616 | 102.7 | 121.43 | 47 | 6280.4 | 164.02 | 83.29
476 | 11 | 1986 | 55651.939 | 9782.5258 | 7228.3525 | 2540.239 | 88.51 | 99.62 | 36 | 4706.21 | 123.2 | 85.8
477 | 11 | 1987 | 55700.6489 | 9738.419 | 7196.7869 | 2994.0844 | 89.14 | 100.73 | 44 | 3990.91 | 128.59 | 89.26
478 | 11 | 1988 | 55010.1917 | 9591.3421 | 6905.8008 | 2481.4572 | 73.54 | 78.49 | 12 | 4505.36 | 90.84 | 97.48
479 | 11 | 1989 | 55436.3931 | 9618.9899 | 7021.2983 | 2604.628 | 74.48 | 79.97 | 17 | 3714.39 | 91.67 | 94.9
480 | 11 | 1990 | 55364.9715 | 8950.3774 | 7127.3626 | 2540.239 | 79.61 | 86.41 | 21 | 4467.24 | 104.52 | 94.66
481 | 11 | 1991 | 55443.6362 | 9661.1285 | 7161.2445 | 2418.1189 | 88.19 | 98.24 | 49 | 3432.79 | 121.65 | 85.04
482 | 11 | 1992 | 55516.9837 | 9930.6243 | 7164.6296 | 2758.9589 | 90.02 | 103 | 36 | 5140.77 | 133.54 | 90.64
483 | 11 | 1993 | 55059.4285 | 9665.9496 | 7033.9174 | 2680.6909 | 77.61 | 84.86 | 19 | 4416.46 | 102.7 | 97.13
484 | 11 | 1994 | 54981.8339 | 9930.6243 | 6907.1907 | 2884.8083 | 72.36 | 77.84 | 17 | 2611.04 | 92.3 | 103.08
485 | 11 | 1995 | 55100.2656 | 9706.9496 | 7052.4319 | 2506.5139 | 84.71 | 94.64 | 34 | 4042.31 | 121.24 | 95.38
486 | 11 | 1996 | 55171.0658 | 9907.8255 | 7036.3008 | 2680.6909 | 87.12 | 99.15 | 36 | 4637.62 | 127.93 | 93.21
487 | 11 | 1997 | 55040.3192 | 9661.1285 | 6976.8739 | 2657.433 | 104.31 | 123.44 | 55 | 5843.02 | 171.98 | 90.28
488 | 11 | 1998 | 56226.5589 | 9907.8255 | 7514.1182 | 2625.033 | 94.21 | 107.45 | 71 | 2827.38 | 137.61 | 90.36
489 | 11 | 1999 | 55040.252 | 9918.8255 | 6964.8045 | 2625.4405 | 82.68 | 92.45 | 27 | 4749.73 | 117.61 | 96.34
490 | 11 | 2000 | 54873.8719 | 9738.419 | 6877.8532 | 2595.0037 | 72.55 | 77.2 | 13 | 2991.44 | 88.6 | 99.81
491 | 11 | 2001 | 55498.8436 | 9907.8255 | 7071.8423 | 2625.033 | 93.59 | 107.84 | 37 | 5886.41 | 143.62 | 88.49
492 | 11 | 2002 | 55943.6687 | 9931.8255 | 7258.4008 | 2884.8083 | 83.35 | 93.21 | 47 | 2762.19 | 116.16 | 94.58
493 | 11 | 2003 | 55278.2228 | 9931.8255 | 7008.1571 | 2887.1038 | 72.8 | 78.44 | 20 | 2309.05 | 92.13 | 102.56
494 | 11 | 2004 | 55815.1617 | 9782.5258 | 7272.5729 | 2884.8083 | 90.34 | 103.07 | 58 | 3124.38 | 133.65 | 93.3
495 | 11 | 2005 | 55550.7184 | 9758.5258 | 7156.0522 | 2486.991 | 74.41 | 80.15 | 23 | 2193.47 | 92.59 | 98.31
496 | 11 | 2006 | 55841.3169 | 9970.3951 | 7299.579 | 2777.7992 | 94.78 | 109.57 | 47 | 4734.42 | 142.9 | 89.74
497 | 11 | 2007 | 55087.1704 | 9930.6243 | 6906.109 | 2758.9589 | 77.87 | 86.85 | 21 | 4652.34 | 110.32 | 102.33
498 | 11 | 2008 | 55098.0592 | 9319.0621 | 6927.9456 | 2520.0551 | 68.83 | 72.42 | 10 | 1060.32 | 80.17 | 102.56
499 | 11 | 2009 | 55661.4186 | 9931.8255 | 7216.6302 | 2752.043 | 95.62 | 110.71 | 39 | 6034.77 | 147.65 | 88.28
500 | 11 | 2010 | 56127.0328 | 9675.1285 | 7335.1302 | 2682.1803 | 107.67 | 125.9 | 61 | 5310.32 | 163.01 | 72.12
501 | 11 | 2011 | 55262.8547 | 9948.8255 | 7117.9358 | 3039.7417 | 79.47 | 87.32 | 21 | 4044.49 | 108.75 | 103.1
502 | 11 | 2012 | 55516.5591 | 9930.9889 | 7169.0994 | 2625.033 | 92.51 | 105.56 | 44 | 4651.3 | 137.4 | 87.16
503 | 11 | 2013 | 55225.5617 | 9734.0456 | 7159.4711 | 2571.8811 | 79.47 | 87.24 | 28 | 3556.43 | 106.46 | 95.57
504 | 11 | 2014 | 55049.8734 | 9640.926 | 7137.4893 | 2994.0844 | 78.15 | 85.88 | 26 | 3972.23 | 105.29 | 96.36
505 | 11 | 2015 | 56188.1818 | 9944.3951 | 7234.3256 | 2884.8083 | 112.37 | 135.18 | 57 | 6591.7 | 190.76 | 83
506 | 11 | 2016 | 56455.216 | 10136.2933 | 7288.9405 | 2757.372 | 141.39 | 170.87 | 123 | 5089.55 | 229.95 | 30.41